## Energy
Campus | Precinct | Reticulation | Building | Meters | meter_id | description | make | manufacturer | type | Serial Number | model | yard_number | Building_No | Floor | Room_No | Meter_Description | Latitude | Longitude
Stellenbosch | Coetzenburg 11 kV | - | - | - | 3025 | Coetzenburg 11 kV | Elster | Kocos | A1700 | 51500272 | LiMo-DIN | 306 | 745 | 1 | 1002 | Coetzenburg 11kv | -33.93943714 | 18.86822311
Stellenbosch | Coetzenburg 11 kV | Swembad Minisub | - | - | 2856 | Swembad Minisub | Elster | Kocos | A1140 | 78520491 | LiMo R2 | 306/2 | 0 | 1 | Outside | Swembad minisub | -33.94067001 | 18.87089593
Stellenbosch | Coetzenburg 11 kV | Swembad Minisub | - | Swembadpompe | 2639 | Swembadpompe | Elster | Kocos | A1140 | 58500661 | LiMo R2 | 306/2 | 171 | 1 | 1002 | Swembad pompe | -33.94064265 | 18.87086229
Stellenbosch | Coetzenburg 11 kV | Swembad Minisub | - | Coetzenburg Sentrum | 2848 | Coetzenburg Sentrum | Elster | Kocos | A1140 | 58500669 | LiMo R2 | 306/2 | 171 | 1 | 1002 | Coetzenburg sentrum | -33.94064548 | 18.87086475
Stellenbosch | Coetzenburg 11 kV | Sportwetenskap Toevoer | - | - | 2753 | Sportwetenskap Toevoer | Elster | Kocos | A1140 | 58500442 | LiMo R2 | 306/2 | 87 | 1 | 114 | Sportwetenskap toevoer | -33.94128796 | 18.87177592
Stellenbosch | Coetzenburg 11 kV | Sportwetenskap Toevoer | - | Sport Wetenskap - VM Remainder | 3904 | VM | VM | VM | VM | 0 | VM | - | 0 | 0 | - | - | 0 | 0
Stellenbosch | Coetzenburg 11 kV | Sportwetenskap Toevoer | - | Sport Gimnasium | 2754 | Sport Gimnasium | Elster | Kocos | A1140 | 58500444 | LiMo R2 | 306/2 | 87 | 1 | 114 | Sport gimnasium | -33.94129853 | 18.8717833
Stellenbosch | Coetzenburg 11 kV | Sportburo - Jannie Marais Klubhuis | - | - | 2746 | Sportburo - Jannie Marais Klubhuis | Elster | Kocos | A1140 | 58500447 | LiMo R2 | 313 | 165 | 1 | 1003 | Sportburo - Jannie Marais Klubhuis | -33.93854041 | 18.87367101
Stellenbosch | Coetzenburg 11 kV | Krieket Onderwaterhokkie Klubhuis | - | - | 2954 | Krieket Onderwaterhokkie Klubhuis | Elster | Kocos | A1140 | 78520566 | LiMo R2 | - | 0 | 0 | - | - | 0 | 0
Stellenbosch | Coetzenburg 11 kV | - | Danie Craven Rugby Stadion | - | 2955 | Danie Craven Rugby Stadion | Elster | Kocos | A1140 | 88500423 | LiMo R2 | 312 | 138 | 1 | 1020 | Danie Craven Rugby Stadion | -33.94052152 | 18.87291597
Stellenbosch | Coetzenburg 11 kV | - | Coetzenburg Atletiek Substasie | - | 2964 | Coetzenburg Atletiek Substasie | Elster | Kocos | A1140 | 58500468 | LiMo R2 | - | 0 | 0 | - | - | 0 | 0
Stellenbosch | Coetzenburg 11 kV | - | Coetzenburg Atletiek Substasie | Coetzenburg Woonhuis 01 | 3965 | Coetzenburg Woonhuis 01 | Elster | Kocos | A1140 | 48101653 | LiMo R2 | 306/1 | 904 | 1 | Outside | Coetzenburg Woonhuis 01 | -33.93853935 | 18.87088319
Stellenbosch | Coetzenburg 11 kV | - | Coetzenburg Atletiek Substasie | Coetzenburg Vodacom | 2849 | Coetzenburg Vodacom | Elster | Kocos | A1140 | 68905747 | LiMo R2 | 306/2 | 171 | 1 | 1002 | Coetzenburg vodacom | -33.94064168 | 18.87085704
Stellenbosch | Coetzenburg 11 kV | - | Coetzenburg Atletiek Substasie | Coetzenburg Tennisbaan | 2950 | Coetzenburg Tennisbaan | Elster | Kocos | A1140 | 58500667 | LiMo R2 | 306/2 | 137 | 1 | 1010 | Coetzenburg Tennisbaan | -33.93906043 | 18.86918915
Stellenbosch | Coetzenburg 11 kV | - | Coetzenburg Atletiek Substasie | Coetzenburg MTN | 2947 | Coetzenburg MTN | Elster | Kocos | A1140 | 98129683 | LiMo R2 | 306/2 | 137 | 1 | 1010 | Coetzenburg MTN | -33.93906349 | 18.86919049
Stellenbosch | Coetzenburg 11 kV | - | Coetzenburg Atletiek Substasie | Coetzenburg Imaging Centre | 2949 | Coetzenburg Imaging Centre | Elster | Kocos | A1140 | 98154635 | LiMo R2 | 306/2 | 137 | 1 | 1010 | Coetzenburg Imaging Centre | -33.93907239 | 18.86918982
Stellenbosch | Coetzenburg 11 kV | - | Coetzenburg Atletiek Substasie | Coetzenburg Cell C | 2948 | Coetzenburg Cell C | Elster | Kocos | A1140 | 98129682 | LiMo R2 | 306/2 | 137 | 1 | 1010 | Coetzenburg Cell C | -33.93906627 | 18.86919016
Stellenbosch | Coetzenburg 11 kV | - | Coetzenburg Atletiek Substasie | Atletiek Stadion - VM Remainder | 3903 | VM | VM | VM | VM | 0 | VM | - | 0 | 0 | - | - | 0 | 0

## Solar
node_name1 | node_name2 | node_name3 | node_name4 | node_name5 | node_name6 | node_name7 | meter_id | description | make | manufacturer | type | Serial Number | model | yard_number | Building_No | Floor | Room_No | Meter_Description | Latitude | Longitude
Neelsie PV Roof | - | - | - | - | - | - | 10440 | Neelsie PV Roof | Elster | Kocos | A1140 | 58108351 | - | 1 | 1 | 3 | - | Neelsie PV Roof | -33.932359 | 18.865194

## Occupancy
node_name1 | node_name2 | node_name3 | node_name4 | node_name5 | node_name6 | node_name7 | meter_id | description | make | manufacturer | type | Serial Number | model | yard_number | Building_No | Floor | Room_No | Meter_Description | Latitude | Longitude
Lettere - Computer Room (3rd Floor) | - | - | - | - | - | - | 1000 |  | FootfallCam | FootfallCam | People Counting | 15F010234294¦0000000091a8ebb0 | FootfallCam 3D Max | - | - | 3 | 314 | Lettere - Computer Room (3rd Floor) | -33.93222832 | 18.86170926